## Sheet1
Building | Location | Inspection Date | Description of issue to be corrected
UHDS HDMC |  | 2019-10-24
| Rm. 110 |  | Provide clearance to wather heater and circuit panel
| Rm. 110 |  | Ensure plastic "Household Use" fan isn't being used for continuous/unattended cooling
| Near 111 |  | Fire extinguisher due
| Stores |  | Discontinue use of (yellow) extensuion cord in lieu of permanent wiring. Fuse-protected powerstrip OK
| Paint shop |  | Discontinue suspending power strips
| welding Shop |  | Remove combustible material from around grinder
| welding Shop |  | replace fire extinguisher. Slightly low pressure
| Landscaping Area |  | Fire extinguisher due and open up egress path

## Building List
Arnold Dining Center
Azalea House
Bloss Hall
Buxton Hall
Callahan Hall
Carrie Halsell Hall
Cauthorn
Champinefu Lodge
Dixon Lodge
Finley Hall
Hawley Hall
International Living Learning Center
Marketplace West Dining Center
McNary Dining Center
McNary Hall
Orchard Court
Oxford House
Poling Hall
Sackett Hall
Tebeau Hall
UHDS Maintenance Center
Weatherford Hall
West Hall
Wilson Hall